## sc19
Originally built by Andrew Jones for SC18 Tutorial: "Business of HPC"
The version used as live worked example TCO model built with audience at the SC19 tutorial
NB
This model was created as an example of how to build and use a TCO model for HPC and is supplied for educational purposes only.
The data used are not necessarily intended to be representative and were mostly sourced from the audience.
No responsibility is accepted for your use of this model.
We will be happy to advise on the use of this model or more appropriate TCO models for your case.
Contact Andrew Jones for more information - @hpcnotes or www.linkedin.com/in/andrewjones
BASELINE
INPUTS |  | CALCS | [7 empty] | OUTPUTS |  |  | Notes
$/kWhr | 0.07 | Year | 0 | 1 | 2 | 3 | 4 | TOTAL | Fraction | $/core-hr used | 0.021902
PUE | 1.6 | Occupancy | 0.25 | 1 | 1 | 1 | 0.25
Capital | 30000000 | Hardware |  | 30000000 |  |  |  | 30000000 | 60.9%
Racks | 34 | Electricity | 234709.65 | 938838.6 | 938838.6 | 938838.6 | 234709.65 | 3285935.1 | 6.67%
kW/rack | 45 | Cooling | 140825.79 | 563303.16 | 563303.16 | 563303.16 | 140825.79 | 1971561.06 | 4.002%
cloud $/core-hr |  | Support |  | 1500000 | 1500000 | 1500000 |  | 4500000 | 9.135%
Utilization | 80% | Datacenter | 170000 | 680000 | 680000 | 680000 | 170000 | 2380000 | 4.831%
Service time | 98% | Procure & Commission | 625000 |  |  |  |  | 625000 | 1.269%
Used core-hrs/yr | 749732072.7273 | Decommissioning |  |  |  |  | 375000 | 375000 | 0.7612%
person-year | 250000 | Sysadmin | 187500 | 750000 | 750000 | 750000 | 187500 | 2625000 | 5.329%
price/node | 11000 | User support | 250000 | 1000000 | 1000000 | 1000000 | 250000 | 3500000 | 7.105%
nodes/rack | 80
price/rack | 880000 | Services | [5 empty] | 0 | 0%
cores/node | 40 | Investment | [5 empty] | 0 | 0%
hosting per rack per year | 20000
procurement & commissioning (person years) | 2.5 | TOTAL | 1608035.44 | 35432141.76 | 5432141.76 | 5432141.76 | 1358035.44 | 49262496
decommissioning (person years) | 1.5
sysadmin team (FTE) | 3
user support team (FTE) | 4
EXPLORE CHILLER INVESTMENT
INPUTS |  | CALCS | [7 empty] | OUTPUTS |  | Fraction | Notes
$/kWhr | 0.07 | Year | 0 | 1 | 2 | 3 | 4 | TOTAL | Fraction | $/core-hr used | 0.021451
PUE | 1.2 | Occupancy | 0.25 | 1 | 1 | 1 | 0.25
Capital | 30000000 | Hardware |  | 30000000 |  |  |  | 30000000 | 62.18% | TCO saving against baseline | 1014374 | 2.059%
Racks | 34 | Electricity | 234709.65 | 938838.6 | 938838.6 | 938838.6 | 234709.65 | 3285935.1 | 6.81% | $/core-hr saving vs baseline | 0.00045099 | 2.059%
kW/rack | 45 | Cooling | 46941.93 | 187767.72 | 187767.72 | 187767.72 | 46941.93 | 657187.02 | 1.362%
cloud $/core-hr | 0 | Support |  | 1500000 | 1500000 | 1500000 |  | 4500000 | 9.327%
Utilization | 80% | Datacenter | 170000 | 680000 | 680000 | 680000 | 170000 | 2380000 | 4.933%
Service time | 98% | Procure & Commission | 625000 |  |  |  |  | 625000 | 1.295%
Used core-hrs/yr | 749732072.7273 | Decommissioning |  |  |  |  | 375000 | 375000 | 0.7772%
person-year | 250000 | Sysadmin | 187500 | 750000 | 750000 | 750000 | 187500 | 2625000 | 5.441%
price/node | 11000 | User support | 250000 | 1000000 | 1000000 | 1000000 | 250000 | 3500000 | 7.254%
nodes/rack | 80
price/rack | 880000 | Services | [5 empty] | 0 | 0%
cores/node | 40 | Investment | 300000 |  |  |  |  | 300000 | 0.6218%
hosting per rack per year | 20000
procurement & commissioning (person years) | 2.5 | TOTAL | 1814151.58 | 35056606.32 | 5056606.32 | 5056606.32 | 1264151.58 | 48248122
decommissioning (person years) | 1.5
sysadmin team (FTE) | 3
user support team (FTE) | 4
EXPLORE CLOUD TO DELIVER SAME AMOUNT OF USED CORE-HRS
INPUTS |  | CALCS | [7 empty] | OUTPUTS |  | Fraction | Notes
$/kWhr |  | Year | 0 | 1 | 2 | 3 | 4 | TOTAL | Fraction | $/core-hr used | 0.043001
PUE |  | Occupancy | 0.25 | 1 | 1 | 1 | 0.25 |  |  | cloud premium (N x on-prem cost) | 1.9633 | 96.33%
Capital |  | Hardware |  | 0 |  |  |  | 0 | 0% | Premium over on-prem TCO | 49262496 | 100%
Racks |  | Electricity | 0 | 0 | 0 | 0 | 0 | 0 | 0% | $/core-hr increase vs on-prem | 0.021099 | 96.33%
kW/rack |  | Cooling | 0 | 0 | 0 | 0 | 0 | 0 | 0%
cloud $/core-hr | 0.04 | Support | [6 empty] | 0%
Utilization |  | Datacenter | 0 | 0 | 0 | 0 | 0 | 0 | 0%
Service time |  | Procure & Commission | 500000 |  |  |  |  | 500000 | 0.517%
Used core-hrs/yr | 749732072.7273 | Decommissioning |  |  |  |  | 125000 | 125000 | 0.1292%
person-year | 250000 | Sysadmin | 187500 | 750000 | 750000 | 750000 | 187500 | 2625000 | 2.714%
price/node |  | User support | 250000 | 1000000 | 1000000 | 1000000 | 250000 | 3500000 | 3.619%
nodes/rack
price/rack |  | Services |  | 29989282.9091 | 29989282.9091 | 29989282.9091 |  | 89967848.7273 | 93.02%
cores/node |  | Investment | [5 empty] | 0 | 0%
hosting per rack per year
procurement & commissioning (person years) | 2 | TOTAL | 937500 | 31739282.9091 | 31739282.9091 | 31739282.9091 | 562500 | 96717849
decommissioning (person years) | 0.5
sysadmin team (FTE) | 3
user support team (FTE) | 4
Copyright 2018 Andrew Jones / NAG
Supplied for education purposes only
Copyright 2018 Andrew Jones / NAG
Supplied for education purposes only